## Slide 1
Evolutions of the measurement program
& QA/QC of the French EMEP monitoring network
A. Bourin, S. Sauvage, C. Debevec, E. Tison, I. Fronval, B. Herbin, P. Coddeville
IMT Lille Douai
21th Task Force on Measurements and Modelling Meeting
11 - 13 May 2020, Online Meeting

## Slide 2: the French EMEP monitoring network
History
Ozone, VOCs
Heavy metals deposition, PM10
SO2, SO42-
PM10, 2.5
PM2.5 (inorg. ions, EC/OC)
PAHs deposition, PM10
Inorganics, gases, PMtsp
Major ions, pH atmospheric deposition
1990 Scient. & Tech. Coord. LCSQA/IMT LD
2008/50/EC Directive
2004/107/EC Directive
2020 to be continued
Acidification & Eutrophisation
1978 – convention LRTAP
1992 Photochemical oxydant
1998 Heavy metals, particles et POPs

## Slide 3: the French EMEP monitoring network
Current
La Tardière FR0015
Peyrusse Vieille FR0013
Le Casset FR0016
Revin FR009
EMEP level 1
EMEP level 2
Monitoring program
Site typology
Plain
Forest
Valley
Plateau
Mountain
Meteorology
Ozone
Inorganic compounds in precipitation
Heavy metals in precipitation
NH3
PM10
PM2.5
Inorganic compounds in PM2.5
Organic compounds in PM2.5
NO2
NO
HCNM
Carbonyls
PM1, size distribution, number concentration
Heavy metals in PM10
PAHs in precipitation
PAHs in PM10
Not measured

## Slide 4: the French EMEP monitoring network
Recent and future changes
Particles
  Replacement of PM monitors by an optical aerosol spectrometer
  PM2,5 , PM10 - EMEP level 1
  PM1 - EMEP level 2
  PM4, PMtot - not required
  the particle number concentration Cn
  the particle size distribution from 180 nm to 18 µm
  Simultaneous measurement of PM2,5 and PM10 mass concentrations
  Better assess the aerosol fractions (from coagulation mode)

## Slide 5: the French EMEP monitoring network
Recent and future changes
Particles : what we observed from multiannual chemical composition of PM2,5 (filters)
  Spatial gradient in major component
  organic in the South
  inorganic in the North
EC OM NO3- NH4+ SO42-
Sea salt Mineral dust
FR0009R :EMEP station code (sampling period)
8,41 µg m-3 : mean mass concentration in PM2,5
Major compounds in PM2,5
Debevec et al., 2020

## Slide 6: the French EMEP monitoring network
Recent and future changes
Particles : what we observed from multiannual chemical composition of PM2,5 (filters)
  Spatial gradient in major component
  organic in the South
  inorganic in the North
  Seasonal contrast of mass concentration
  Influenced by the variability in main component
  Winter/spring (OM + SIA)
  Summer (OM + nssSO42-)
Debevec et al., 2020
winter
spring
summer
autumn
North/Centre
South
PM2.5 mass (µg/m3)
EC OM NO3- NH4+ SO42-
Sea salt Mineral dust

## Slide 7: the French EMEP monitoring network
Recent and future changes
Particles : what we observed from multiannual chemical composition of PM2,5 (filters)
  Spatial gradient in major component
  organic in the South
  inorganic in the North
  Seasonal contrast of mass concentration
  Influenced by the variability in main component
  Winter/spring (OM + SIA)
  Summer (OM + nssSO42-)
Main Drivers of PM2,5 chemical composition
Variability of sources
Transport of air masses and meteorological conditions

## Slide 8: the French EMEP monitoring network
Recent and future changes
Particles
  Development suggested for high temporal resolution for PM composition
  chemical composition of non-refractory particles + particle light absorption coefficient – EMEP level 2
  Better identify drivers of chemical composition
  High time resolution : variability related to emission and processes
  Comparison urban/background at a regional scale to help understanding PM episodes

## Slide 9: the French EMEP monitoring network
Recent and future changes
Development of gaseous measurements
  real-time gas concentration analyzer
  NO2 (trace level & selective analyzer) - EMEP level 1
  ACTRIS recommendations : type of analyzer, QA/QC and data validation process
  Significant quality improvement for NO2 data
NO (ppb)
NO2 (ppb)

## Slide 10: the French EMEP monitoring network
Development of gaseous measurements
  real-time gas concentration analyzer
  VOCs – NMHC + OVOC - EMEP level 2
  Already a unique dataset of 20 years long
  Higher time resolution -> diurnal variability of some compounds
  Primary sources tracers+ photochemical processes tracers
  Link with secondary pollutants (ozone and SOA)
Recent and future changes
Waked et al., 2016
Urban sites
Background sites
Percentage of changes

## Slide 11: the French EMEP monitoring network
Recent and future changes
Development of gaseous measurements
  real-time gas concentration analyzer
  Ammonia – EMEP level 3
  Online analyzer with high time resolution
  Emission inventory evaluation -> location of sites in contrasted area
  Better knowledge of frequent secondary PM episode (spring)
NH3 (µg/m3)
AMP’AIR 2018

## Slide 12: the French EMEP monitoring network
Recent and future changes
Heavy metals in atmospheric deposition
  bulk samplers
  High contribution of undissolved fraction
  Geographical spread
  Seasonality -> dust resuspension
Chart: FR0013
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
As | 0.16626 | 0.2946 | 0.21825 | 0.44484 | 0.43548 | 0.29882 | 0.16912 | 0.37436 | 0.30627 | 0.21032 | 0.36953 | 0.10543 | 0.68085 | 0.26401 | 0.074103 | 0.38653 | 0.50229 | 0.27486 | 0.29952 | 0.50275 | 0.37289 | 0.32962 | 0.46177 | 0.21406 | 0.28115 | 0.09173 | 0.25338 | 0.21434 | 0.32938 | 0.48425 | 0.37764 | 0.40697 | 0.47888 | 0.14286 | 0.55635 | 0.29958 | 0.28694 | 0.32987
Cd | 0.11916 | 0.073252 | 0.0012141 | 0.1495 | 0.0011017 | 0.22994 | 0.021094 | 0.027127 | 0.39346 | 0.015984 | 0.23599 | 0.00072746 | 0.15747 | 0.021539 | 0.024701 | 0.87641 | 0.042054 | 0.021132 | 0.016438 | 0.44756 | 0.019231 | 0.029948 | 0.047973 | 0.0079035 | 0.040303 | 0.043028 | 0.019297 | 0.050474 | 0.015276 | 0.014658 | 0.029063 | 0.0082486 | 0.10048 | 0.0072593 | 0.008154 | 0.012342 | 0.021758 | 0.14199
Pb | 0.021836 | 0.046629 | 0.059864 | 0.13244 | 0.073475 | 0.074072 | 0.03356 | 0.10544 | 0.099086 | 0.058388 | 0.071612 | 0.034474 | 0.057504 | 0.07668 | 0.026893 | 0.63703 | 0.16357 | 0.041692 | 0.081067 | 0.14403 | 0.010617 | 0.091568 | 0.1456 | 0.049048 | 0.040883 | 0.023306 | 0.049749 | 0.079252 | 0.058213 | 0.11385 | 0.1196 | 0.12588 | 0.12715 | 0.064722 | 0.19626 | 0.12879 | 0.010572 | 0.033741
Ni | 0.17247 | 0.14051 | 0.19794 | 0.30277 | 0.32395 | 0.18289 | 0.11463 | 0.24806 | 0.21762 | 0.13133 | 0.19938 | 0.078734 | 0.22165 | 0.19822 | 0.12882 | 0.16626 | 0.4501 | 0.20526 | 0.33966 | 0.48858 | 0.3359 | 0.30329 | 0.44302 | 0.31055 | 0.10418 | 0.11023 | 0.36837 | 0.16199 | 0.23182 | 0.38731 | 0.37774 | 0.42518 | 0.46975 | 0.24959 | 0.45906 | 0.38364 | 0.079144 | 0.06794
Chart: FR0024
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
As | 0.24595 | 0.26674 | 0.2359 | 0.41629 | 0.34906 | 0.45148 | 0.52882 | 0.38397 | 0.36887 | 0.10464 | 0.51684 | 0.23017 | 0.37546 | 0.29339 | 0.352 | 0.53753 | 0.42349 | 0.3057 | 0.47075 | 0.42377 | 0.30896 | 0.32091 | 0.35405 | 0.24662 | 0.27607 | 0.16703 | 0.21738 | 0.2272 | 0.40016 | 0.4601 | 0.46168 | 0.42731 | 0.37534 | 0.426 | 0.46131 | 0.45566 | 0.32116 | 0.19084 | 0.31935
Cd | 0.013204 | 0.0087331 | 0.0005932 | 0.029173 | 0.018171 | 0.18105 | 0.080084 | 0.32611 | 0.0073988 | 0.0049959 | 0.093434 | 0.00047387 | 0.011577 | 0.021937 | 0.025625 | 0.13795 | 0.016302 | 0.015072 | 0.0077445 | 0.16754 | 0.020154 | 0.085443 | 0.023713 | 0.030508 | 0.021795 | 0.028331 | 0.0091053 | 0.023456 | 0.037268 | 0.025539 | 0.006493 | 0.055641 | 0.02078 | 0.0083327 | 0.013736 | 0.081589 | 0.15275 | 0.001478 | 0.011649
Pb | 0.0681 | 0.058466 | 0.060694 | 0.032548 | 0.059416 | 0.057862 | 0.14362 | 0.08921 | 0.076271 | 0.038639 | 0.15342 | 0.0645 | 0.023108 | 0.091665 | 0.1059 | 0.033984 | 0.1177 | 0.057678 | 0.17808 | 0.11483 | 0.060828 | 0.10349 | 0.10626 | 0.072611 | 0.059853 | 0.078494 | 0.055382 | 0.069974 | 0.04693 | 0.18123 | 0.077542 | 0.12548 | 0.10341 | 0.092033 | 0.10457 | 0.12127 | 0.10134 | 0.011385 | 0.067593
Ni | 0.15963 | 0.26326 | 0.312 | 0.28563 | 0.33994 | 0.32797 | 0.48273 | 0.3338 | 0.26205 | 0.076952 | 0.38908 | 0.21589 | 0.12617 | 0.4353 | 0.29056 | 0.19084 | 0.38946 | 0.318 | 0.52689 | 0.43649 | 0.10124 | 0.32636 | 0.32755 | 0.2938 | 0.26842 | 0.21294 | 0.29745 | 0.27585 | 0.33971 | 0.59444 | 0.37125 | 0.38802 | 0.35594 | 0.70203 | 0.43856 | 0.51006 | 0.50438 | 0.068638 | 0.26485

## Slide 13: the French EMEP monitoring network
Conclusion
2017 implementation for the EMEP monitoring strategy (Level 1)
EMEP Status report 2019

## Slide 14
Thank you for listening !