## Slide 1: Tenax TA tube results from EMEP intensive measurement period of 2022
Heidi Hellén
Finnish Meteorological Institute

## Slide 2: Background
Measurements at 17 sites
C7-C15 hydrocarbons
  Focus on BVOCs: monoterpenes +sesquiterpenes (isoprene)
  AVOCs: aromatic hydrocarbons, alkanes, PAHs, (benzene)
 | Lifetime OH (h) | Lifetime O3 (h)
Isoprene | 2 | 27
Alpha-pinene | 4 | 4
Limonene | 1 | 2
Beta-caryophyllene | 1 | 0.03
Ethane | 758 | -
Benzene | 148 | -
Toluene | 33 | -
1,2,4-trimethylbenzene | 6 | -
[OH]=1.43E+6 molec cm-3, [O3]=36 ppb

## Slide 3: Method
Tenax TA-carbopack B tubes
Analysis with TD-GC-MS
Two hour sampling after midday 12-19/7/2022
Ozone trap
(a filter impregnated with sodium thiosulfate)

## Slide 4: Mean mixing ratios during the campaing 12/7-19/7/2022

## Slide 5: Hydroxyl radical (OH) reactivities (ROH)
Total OH reactivity (Tot ROH) is the inverse of OH lifetime
Mixing ratios
OH reactivities

## Slide 6: Mean mixing ratios of monoterpenes

## Slide 7: Daily variation of monoterpenes

## Slide 8: Mixing ratios of beta-pinene and its oxidation product nopinone

## Slide 9: Mean mixing ratios of sesquiterpenes

## Slide 10: Diurnal variability of biogenic VOCs
Isoprene has light dependent emissions -> emitted only during the day
Mono- and sesquiterpenes has both light and temperature dependent emissions -> emitted also during the night
Spruce emission at Pallas in 2019 (Hakola et al. 2023)
Mixing ratios (MR) at a boreal forest site (Hyytiälä) in July 2016
(Hellén et al. 2018)
Mixing ratios of isoprene highest during the light hours
  Not emitted during the dark hours
Lowest mixing ratios of mono- and sesquiterpenes often measured in the afternoon
  Mixing has strong impact

## Slide 11: Mean mixing ratios of C6-C9 aromatic hydrocarbons

## Slide 12: Daily variation of aromatic hydrocarbons

## Slide 13: Other measured VOCs
C8-C15 alkanes
PAHs
C10 aromatic HCs

## Slide 14: Additional peaks detected in the chromatograms
Additional non-quantified site specific compounds may also have sometimes strong contribution
Trans-geranyl acetone, higher aldehydes, 6-methyl-5-heptene-2-one
decanal
nonanal
octanal
6-methyl-5-heptene-2-one
siloxane
t-geranyl acetone
*t-geranyl acetone quantified as beta-farnesene
Mace Head
Trans-geranyl acetone C13H22O
undecanal
6-methyl-5-hepten-2-one C8H14O
Mace Head 19/7/2022

## Slide 15: Summary and conclusions
There were strong daily variation of the mixing ratios at most stations
Significant contribution from monoterpenes other than alpha-pinene were detected
Terpene ratios showed high variations between the stations
Additional non-quantified compounds at this volatility range were detected at some sites
Based on the measured concentrations, biogenic VOCs are expected to have major contribution on local chemistry and SOA formation