## readme
Sheet "level_table"
This is a preliminary proposal for structure of the "level approach" and indicates minimum monitoring requirements
Core sites level 2 includes data available from HELCOM, OSPARCOM, AMAP, MEDPOL
Some of the numbers given are not directly complarable with the "sitespercountry"
Sheet "sitespercountry"
This is an initial proposal for "Minimum requirements" for assessing spatial and temporal trends, including model validation
This is a subjective proposal but considering what we know is available, high numbers typically indicates that these sites currently exists
A thorough discussion is needed bewteen the centres and later with the TFMM
Number of sites higher than requirements do not necessarily indicate redundancy! Other objectives and national interests exists (incl. non EMEP ones)
Core sites (leve1 and 2) are to be considered as the mandatory programme
Core sites level 2 includes data available from HELCOM, OSPARCOM, AMAP, MEDPOL
level 3 sites is not mandatory, but still needed, to be acquired from non EMEP sources
yellow; means that number of sites could be reduced if criteria of 1/50000 is applied
complex topography is often the arguement when more sites than 1/50000 is proposed
orange; means more sites are needed and proposed number is given
green; indicates supersite sharing, i.e. that these countries could cooperate
(if number is given for the last country this does not neccessarily mean that this is the country to locate the site
(if number is given for a specific country then a candidate site exists and name is given in column "Q"
if no number is given this indicates that I have not been able to give a proposal yet
The station names given under "supersites" could be for any of the topics and not necessarily for all (coloumn Q)
colouns C-F will not appear in final document
Sheet "sitesperregion"
This is a summary of the sheet "sitespercountry" based on the "regions" defined
colouns C-F will not appear in final document

## sitesperregion
|  |  | Core sites level 1 |  |  |  | Core sites level 2 | [5 empty] | Level 3 sites
| region | #km2 | current #sites per region | IF 1/50000 | additional need for sites | level 1 (inorg. precip/air,O3,PM) | photoox. (O3, VOCs, NOy.) | HM precip | HM air | POP precip | POP air | PM (PMx+speciation/size,EC/OC) | PM (OC-speci., dN/dlogDp, scattering) | acid (flux, gas/part) | photoox. (O3flux)
NW-Europe | 1 | 790274 | 20 | 15.8055 | -4.1945 | 19 | 4 | 16 | 7 | 4 | 5 | 4 | 4 | 2 | 2
Swe-Fin,Baltic | 2 | 1006193 | 18 | 20.1239 | 2.1239 | 18 | 1 | 25 | 10 | 4 | 5 | 5 | 4 | 2 | 2
Russia | 3 | 6600000 | 4 | 132 | 128 | 8 | 1 | 4 | 4 | 2 | 2 | 2 | 1 | 1 | 1
UK-BeNeLux, France | 4 | 975826 | 18 | 19.5165 | 1.5165 | 18 | 5 | 12 | 8 | 4 | 3 | 4 | 4 | 3 | 3
Central Europe | 5 | 297048 | 11 | 5.941 | -5.059 | 10 | 1 | 3 | 3 | 1 | 1 | 7 | 3 | 1 | 1
Czech-Slovak-Bela-Ukrain | 6 | 1444218 | 9 | 28.8844 | 19.8844 | 15 | 1 | 8 | 5 | 1 | 1 | 3 | 1 | 1 | 1
far Eastern Europe | 7 | 3881352 | 2 | 77.627 | 75.627 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Iberian Pen. | 8 | 597171 | 13 | 11.9434 | -1.0566 | 13 | 1 | 5 | 1 | 1 | 1 | 2 | 2 | 0 | 0
Central Med. | 9 | 321596 | 3 | 6.4319 | 3.4319 | 4 | 1 | 2 | 1 | 1 | 1 | 2 | 2 | 1 | 1
Eastern Med. | 10 | 484820 | 5 | 9.6964 | 4.6964 | 11 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1
|  |  | 103 | 327.97 |  | 124 | 17 | 77 | 41 | 20 | 21 | 32 | 24 | 13 | 13

## sitespercountry
|  |  | Core sites level 1 |  |  |  | Core sites level 2 | [5 empty] | Level 3 sites
Country (*=party to EMEP) | region | #km2 | current #sites per country | IF 1/50000 | additional need for sites | level 1 (inorg. precip/air,O3,PM) | photoox. (O3, VOCs, NOy.) | HM precip | HM air | POP precip | POP air | PM (PMx+speciation/size,EC/OC) | PM (OC-speci., dN/dlogDp, scattering) | acid (flux, gas/part) | photoox. (O3flux) | "Supersites | EMEP | ICP W | ICP F | ICP IM | ICP M | OSPARCOM | HELCOM | AMAP | MEDPOL | EIONET | GAW
Iceland | 1 | 103000 | 1 | 2.06 | 1.06 | 1 | 0 | 3 | 1 | 1 | 1 | 0 | 0 | 0 | 0
Norway * | 1 | 386958 | 7 | 7.7392 | 0.73916 | 7 | 2 | 7 | 2 | 1 | 2 | 2 | 2 | 1 | 1 | Birkenes (Lista) Zeppelin, Hurdal
Ireland * | 1 | 70283 | 4 | 1.4057 | -2.5943 | 3 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Mace Head
United Kingdom * | 1.4 | 230033 | 8 | 4.6007 | -3.3993 | 8 | 1 | 3 | 3 | 1 | 1 | 1 | 1 | 1 | 1
Sweden * | 2 | 449964 | 5 | 8.9993 | 3.9993 | 5 | 0 | 6 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | Aspvreten, Rörvik
Finland * | 2 | 338145 | 4 | 6.7629 | 2.7629 | 5 | 1 | 7 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | Pallas/Sodankylä, Virolahti, Utö
Estonia * | 2 | 45215 | 2 | 0.9043 | -1.0957 | 2 | 0 | 2 | 0
Denmark * | 2 | 43069 | 4 | 0.86138 | -3.1386 | 3 |  | 7 | 5 | 1 | 1 | 1
Lithuania | 2.6 | 65200 | 1 | 1.304 | 0.304 | 1 |  | 1 | 1 | 1 | 1
Latvia * | 2.6 | 64600 | 2 | 1.292 | -0.708 | 2 |  | 2 | 2 |  |  | 1 | 1 | 1 | 1 | Super site sharing
Russian Federation * | 3 | 6600000 | 4 | 132 | 128 | 8 | 1 | 4 | 4 | 2 | 2 | 2 | 1 | 1 | 1
Belgium * | 4 | 30519 | 0 | 0.61038 | 0.61038 | 1 | 0 | 2 | 1 | 1 | 0 | 1 | 0 | 0 | 0
Lichtenstein * | 4 | 160 | 0 | 0.0032 | 0.0032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Luxembourg * | 4 | 2586 | 0 | 0.05172 | 0.05172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
France * | 4 | 543965 | 8 | 10.8793 | 2.8793 | 8 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Donon, Peyrusse-Vieille
The Netherlands * | 4 | 41863 | 2 | 0.83726 | -1.1627 | 2 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Kollumerwaard
Germany * | 4.5 | 356733 | 8 | 7.1347 | -0.86534 | 7 | 2 | 7 | 5 | 1 | 1 | 1 | 2 | 1 | 1 | Waldhof, Zugsp., Hohenp.
Hungary * | 5 | 93036 | 1 | 1.8607 | 0.86072 | 1 | 0 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | K-Puzta
Czech Republic * | 5 | 78864 | 2 | 1.5773 | -0.42272 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 1 |  |  | Kosetice
Austria * | 5 | 83855 | 3 | 1.6771 | -1.3229 | 3 | [5 empty] | 1 |  |  |  | Illmitz
Switzerland * | 5 | 41293 | 5 | 0.82586 | -4.1741 | 4 | [5 empty] | 4 | 1 |  |  | Jungfraujoch
Belarus * | 6 | 207600 | 0 | 4.152 | 4.152 | 1 |  | 1 |  | 1 |  | 1
Republic of Moldova | 6 | 33700 | 0 | 0.674 | 0.674 | 1
Romania | 6 | 237500 | 0 | 4.75 | 4.75 | 2
Ukraine * | 6 | 603700 | 0 | 12.074 | 12.074 | 3
Poland * | 6 | 312683 | 4 | 6.2537 | 2.2537 | 4 |  | 2 |  |  |  | 1
Slovakia * | 6 | 49035 | 5 | 0.9807 | -4.0193 | 4 | 1 | 5 | 5 |  | 1 | 1 | 1 | 1 | 1 | Super site sharing
Armenia | 7 | 29800 | 0 | 0.596 | 0.596 | 1
Azerbaijian | 7 | 86600 | 0 | 1.732 | 1.732 | 1
Kazakstan | 7 | 2717000 | 0 | 54.34 | 54.34 | 2
Georgia | 7 | 69700 | 0 | 1.394 | 1.394 | 1
Turkey * | 7 | 779452 | 1 | 15.589 | 14.589 | 2 | [5 empty] | 1
Kyrguzstan | 7 | 198800 | 1 | 3.976 | 2.976 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | Super site sharing
Spain * | 8 | 504782 | 10 | 10.0956 | 0.09564 | 10 | 1 | 1 |  | 1 |  | 1 | 2 |  |  | Inzana, ++
Portugal * | 8 | 92389 | 3 | 1.8478 | -1.1522 | 3 |  | 4 | 1 |  | 1 | 1 |  |  |  | Braganza
Monaco * | 9 | 2 | 0 | 4e-05 | 4e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
San Marino | 9 | 61 | 0 | 0.00122 | 0.00122 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Italy * | 9 | 301277 | 2 | 6.0255 | 4.0255 | 3 | 1 | 1 |  | 1 |  | 2 | 2 |  |  | Ispra, Bologna
Slovenia * | 9 | 20256 | 1 | 0.40512 | -0.59488 | 1 |  | 1 | 1 |  | 1 |  |  | 1 | 1 | Super site sharing
Bosnia Herzegovina * | 10 | 51129 | 0 | 1.0226 | 1.0226 | 1 | 0 | 0
FYROM | 10 | 25713 | 0 | 0.51426 | 0.51426 | 1 | 0 | 0
Malta * | 10 | 316 | 0 | 0.00632 | 0.00632 | 1 | 0 | 0 | 0 |  |  | 0 | 0
Bulgaria * | 10 | 110994 | 0 | 2.2199 | 2.2199 | 1 |  | 0
Cyprus * | 10 | 6000 | 0 | 0.12 | 0.12 | 1 | 0
Greece * | 10 | 131957 | 1 | 2.6391 | 1.6391 | 2 | 1 |  |  |  |  | 1 | 1 |  |  | Finokalia,
Yugoslavia * | 10 | 102173 | 2 | 2.0435 | 0.04346 | 2
Croatia * | 10 | 56538 | 2 | 1.1308 | -0.86924 | 2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | Super site sharing
|  |  | 103 | 327.97 |  | 124 | 17 | 77 | 41 | 20 | 21 | 32 | 24 | 13 | 13

## level_table
Core sites | programme | parameters | geogr. focus; | time resolution | min # sites | reference method |  | objective
Core sites level 1 (all parameters are required to be monitored)
all topics | Inorganic compounds in precipitation | SO4, NO3, NH4, H+ (pH), Na, K, Ca, Mg, Cl, (cond) | all regions, denser in regions with steep gradients, both high and low conc. areas | 24h | 125 | WO (bulk)
all topics | Inorganic compounds in air | SO2, SO4, NO3, HNO3, NH4, NH3, (sNO3, sNH4), Na, K, Ca, Mg, NO2 |  | 24h | 125 | filterpack/Abs sol.
acidification | gas particle ratio | NH3, HNO3 |  | bi-weekly | 125 | passive flux samplers
all topics | PM10 mass concentation | PM10 |  | 24h | 125 | EN12341
| Ozone, | O3 |  | 1h | 125 | UV abs.
| Meteorology | RR, T,dd,ff,rh, gr |  | 1h | 125 | AWS
Core sites level 2, acidification and eutrophication; shoudl in addtion to level 1 parameters also monitor;
acid | gas particle ratio | NH3/NH4, HNO3/NO3 | all regions, N, C | 12h/24h | 15 | denuder/filterpack, SJAAC,
Core sites level 2; photochemical photooxidants; should in addtion to level 1 paramters also measure;
photo | Ozone | O3 | all regions, S, | 1h | 15 | UV abs.
| Nox, Noy | NO, NO2 ++? |  | 1h | 15 | Chem.
| Light hydrocarbons | C2-C7 |  | ? | 15 | GCMS
| Karbonyls | Aldehydes and ketones |  | ? | 15 | GCMS
Core sites level 2; Heavy metals, should in addition to level 1 parameters also monitor
HMprecip | HMs in precipitation | Hg, Cd, Pb (1st pri.), Cu, Zn, As, Cr, Ni (2nd pri) | all regions, N, E | weekly | 80 | bulk
Hmair | HMs in air | Hg, Cd, Pb (1st pri.), Cu, Zn, As, Cr, Ni (2nd pri) | all regions, N, E | weekly | 40 | Hi-Vol.
| Hg in air | Hg |  | weekly/1h | 15 | Hi-Vol./monitor
Core sites level 2; Persistant organic pollutants, should in addition to level 1 parameters also measure
POP precip | POP in precip. | PAH, PCB, HCB, chlordane, lindane, a-HCH, DDT/DDE | all regions, N | weekly | 20 | Bulk
POPair | POP in air | PAH, PCB, HCB, chlordane, lindane, a-HCH, DDT/DDE | all regions, N | weekly | 20 | Hi-Vol.
Core sites level 2; Particulate matter, should in addition to level 1 parameters also measure
PM | PM mass | PM2,5, PM1, PM10 | all regions, S | 1 | 25 | EN12341
PM | Speciation vs size | SO4, NO3, NH4, Na, K, Ca, Mg (Cl) |  | daily | 5
PM | EC/OC | EC, OC |  | weekly | 25 | Thermo opt.
level 3 (research sites, joint EMEP - WMO-GAW supersites)(do not need to monitor level 1 and level 2 parameters)
acidification | flux S+N | SO2, NH3, HNO3 (SO4, NH4, NO3) | all regions | 1h | 5-10 | COTAG
fotooxid | flux O3 | O3 | all regions | 1h | 5-10 | Micromet.
HM | NOy chemistry | NO, NO2 ++? | all regions |  | 5-10 | Chem.
PM | Size/number distribution | dN/dlogDp, size bins to be decided | all regions | 1h | 15 | SMPS, DMPS
PM | light scattering |  |  | 1h | 10 | Nephel.
PM | OC-speciation |  |  | weekly | 5 | LCMS
PM | BC | BC |  | 1h | 15 | Aeth.
| Data from associated sites (level 4?) |  |  |  |  | From;
| Inorganic compounds in precipitation | SO4, NO3, NH4, H+ (pH), Na, K, Ca, Mg, Cl, (cond) | all regions, denser in regions with steep gradients, both high and low conc. areas | weekly | 300 | WGE | from associated sites/networks | trend and site specific deposition
| Inorganic compounds in canopy throughfall | SO4, NO3, NH4, H+ (pH), Na, K, Ca, Mg, Cl, (cond) |  | weekly | 300 | WGE | from associated sites/networks | trend and site specific deposition
| Ozone | O3 |  | 1h | 500 | EIONET | from associated sites/networks
| PM mass | PM10, PM2,5 |  | 1h/24h | 500 | EIONET | from associated sites/networks